## Slide 1: Preliminary GLM Detection Efficiency and Climatology
Monte Bateman
GLM Cal/Val Team

## Slide 2: Sources
Compare GLM against
ENTLN + WWLLN and
GLD360
Two systems whose domains most closely match the FOV of GLM

## Slide 3: Technique
Calculate DE in 1° x 1° bins
Over 8 months, Jan-Aug 2018
If a GLM flash is within ±0.5s and a range of 50km of a gnd system detect, increment bin
DE fraction = coinc / total
Single number average DE over whole FOV

## Slide 4: “Stoplight Chart”: Color Code
If > 0.7, green
If >= 0.50, darkgreen
If >= 0.25, light gray
If > 0.0, dark gray
If GLM detect with no gnd detect, yellow
If gnd detect with no GLM, red

## Slide 5: DE Map, Jan 2018

## Slide 6: DE Map, Feb 2018

## Slide 7: DE Map, Mar 2018

## Slide 8: DE Map, Apr 2018

## Slide 9: DE Map, May 2018

## Slide 10: DE Map, Jun 2018

## Slide 11: DE Map, Jul 2018

## Slide 12: DE Map, Aug 2018

## Slide 13: DE Map, Jan-Aug 2018

## Slide 14: Climatology Jan-Aug 2018 GLM and ENTLN + WWLLN

## Slide 15: Climatology Jan-Aug 2018 GLM and GLD360

## Slide 16: DE Map, Jan-Aug 2018

## Slide 17: Avg DE Time Series, Jan-Aug 2018

## Slide 18: Summary
GLM shows good DE everywhere except NW CONUS
In NW CONUS, comparison with GLD360 seems more favorable than with ENTLN + WWLLN
Over whole GLM FOV, DE > 0.70 every day this year
Some days as high as 0.90